## Svi
Prilog uz konkursnu dokumentaciju JN 21/16
Partija broj | Naziv | Opis | Napomena | Količina | Jedinica mere | Cena po jedinici mere bez PDV-a | Ukupno bez PDV-a ( kolona 5x kolona 7) | Ukupno sa PDV-om ( kolona 8x PDV) | Proizvođač
1 | 0.5 μl Micro volume syringe | plunger in needle, 50 mm,Gauge 23, cone Tipp for AS3000 |  | 2 | ком.
2 | 6. Ceramic reactor, L 450 mm, OD 17 mm, ID 13 mm | IVA, Thermo ili odgovarajuće, za Flash HT |  | 1 | ком.
3 | 7. Glassy carbon reactor, OD 12 mm, ID 7 mm, L= 355 mm, suitable for BFA | IVA, Thermo ili odgovarajuće, za Flash HT |  | 3 | ком.
4 | 96-Well reversible rack, pp | 96 wells for 1.5-2.0mL microcentrifuge tubes on the other side. The rack is arranged in the standard 8x12 array. |  | 6 | ком.
5 | Adapter expansion socket | NS 29/32, cone NS 19/26, boro 3.3 | staklo evropskog porekla | 1 | ком.
6 | Automatska mikropipeta | variable volume, 20-200 µL; single-channel |  | 1 | ком.
7 | balon sa okruglim dnom 10 mL | slifovani NS14/23, borsilikatno staklo | staklo evropskog porekla | 5 | ком.
8 | balon sa okruglim dnom 25 mL | slifovani NS14/23, borsilikatno staklo | staklo evropskog porekla | 5 | ком.
9 | Balon, jednogrli, 1 L | stakleni, okruglo dno, sa šlifom NŠ 29 |  | 1 | ком.
10 | Balon, jednogrli, 100 mL | stakleni, okruglo dno, sa šlifom NŠ 29 |  | 4 | ком.
11 | Balon, jednogrli, 250 mL | stakleni, okruglo dno, sa šlifom NŠ 29 |  | 6 | ком.
12 | Balon, jednogrli, 500 mL | stakleni, okruglo dno, sa šlifom NŠ 29 |  | 3 | ком.
13 | Beaker 100 ml | low form, PTFE, with spout |  | 1 | ком.
14 | beaker low form 10 mL | graduated, with spout, borsilicate glass | staklo evropskog porekla | 20 | ком.
15 | beaker low form 25 mL | graduated, with spout, borsilicate glass | staklo evropskog porekla | 20 | ком.
16 | beaker low form 50 mL | graduated, with spout, borsilicate glass | staklo evropskog porekla | 20 | ком.
17 | Cell for fluorescence measurement, UV range | wavelength range 200-2500 nm, macro type, path length 10x10 mm, PTFE stopper, 4-window. External dimensions (WxDxH) 12.5x12.5x46 mm. Internal width 10 mm |  | 1 | ком.
18 | Čepovi za plastične epruvete (zapremine od 10 mL, dimenzije epruveta 16/100) | Spektar Čačak ili odgovarajuće | pakovanje po 600 komada | 2 | пак.
19 | Crne mikroploče 96 bunara za fluorescencu | prozirno ravno dno od 25 um, 96 bunara, individualno pakovane | pakovanje od 20 komada | 1 | пак.
20 | DNA Gel Extraction Kit | Kit za izolovanje DNK mase 10-10000 bp iz agaroznih gelova. Kit sa 50 prepova. |  | 1 | пак.
21 | Držać za kvarcnu kivetu za spektrofotometar mikro with detachable windows | Držać za kvarcnu kivetu za spektrofotometar mikro with detachable windows 52μl / Hellma Cuvette holder; outer dimensions: 45 x 12.5 x 12.5 mm, inner dimensions Height 97 mm, Depth 34,5 mm, Order Number 013-000-71, Type 13.000 | ISO sertifikat za proizvodnju | 1 | ком.
22 | Ependorfi 1,5 mL | Pakovanje od 500 ili 1000 kom, 1,5 ml | dostaviti uzorak | 6000 | ком.
23 | Epruveta 2 mL (microtube), konusna, plastična, | Eppendorf, Hinged Eppendorf Safe-Lock lid prevents unintentional lid opening during incubation and storage Polypropylene provides high resistance to chemicals, mechanical stress and temperature extremes Manufactured without mold release agents, softeners or biocides – Materials which could have a negative effect on bioassays g-Safe®: Exceptional centrifugation stability up to 30,000 × g prevents sample loss due to tube breakage and provides extra safety when working with hazardous samples Precise lid sealing for minimal evaporation rates during long-term storage Large frosted lid and surface on the side for easy labeling Guaranteed functionality from -86 °C to 100 °C Autoclavable when open (121 °C, 20 min) Available in lot-certified PCR clean, Eppendorf Forensic DNA Grade, and Biopur quality for guaranteed purity Available in Eppendorf Protein and DNA LoBind material for maximum recovery of valuable samples | pakovanje po 1000 komada | 1 | пак.
24 | Epruveta 5 mL (microtube), konusna, plastična, | Eppendorf, Ergonomic operation: Snap cap - simple, practical and ergonomic singlehand operation. Broad operating temperature range: Screw cap tubes: -86 °C – 100 °C. Snap cap tubes: -86 °C – 80 °C (when using the clip ≤ 100 °C) Material: Exceptionally high-quality, transparent polypropylene, free of plasticizers, biocides or mold release agents, for reliable test results Certified purity: Available in lot specific certified Eppendorf Quality, PCR clean, Sterile and Eppendorf Biopur® purity grades. Centrifugation safety: Maximum safety and stability for centrifugation up to 25,000 x g. Fast and efficient protocols. Conical shape: Compatible with accessories for conical 15 mL tubes – many existing adapters and racks can be used. Sample recovery: 5.0 mL snap cap tubes are available in Eppendorf LoBind® material for maximum recovery of valuable samples | pakovanje po 200 komada | 2 | пак.
25 | Epruveta 50 mL, konusna sa zavrtnjem, plastična | Sarsted, Product description Tube 50 ml, 114 x 28 mm, conical base, PP, with print, assembled red cap, 25 sterile and pyrogen-free pieces packed in the styrofoam container Product characteristics Label/ Print With printed label Colour of print/label Blue/white Graduation Yes Cap Assembled Type of cap Screw cap Base shape Conical base Centrifugation max (RPM) 15500 x g Size Sample volume 50 ml Diameter 28 mm Length of product 114 mm Material & colours Product material Polypropylene (PP) Colour of product Transparent Cap material High Density Polyethylene (HD-PE) Colour of cap Red Tube material Polypropylene (PP) Purity & certification Satisfies the requirement ADR Product in accordance with MDD or IVDD IVD CE certified CE Purity standard Come Grow With Us Sterilisation sterile Pyrogen-free Pyrogen-free Lot or serial number batched Packaging Minimum order qty. 300 Type of packaging Bag Pcs. / inner box 25 Pcs. / box 300 Pcs. / pallet 8400 Depth of case 588 mm Width of case 398 mm Height of case 255 mm Case volume 0,0597 cbm Weight of case 4,96 KG EAN of inner box 4038917111829 EAN of outer box 4038917013413 | pakovanje od 25 komada | 10 | пак.
26 | Epruveta 50 mL, ravnog dna sa zavrtnjem, plastična | Sarsted, 62.547.254 Product description Tubes 50 ml, 114 x 28 mm, conical base, PP, with print, assembled red cap, 25 sterile and pyrogen-free pieces packed in the bag Product characteristics Label/ Print With printed label Colour of print/label Blue/white Graduation Yes Cap Assembled Type of cap Screw cap Base shape Conical base Centrifugation max (RPM) 15500 x g Size Sample volume 50 ml Diameter 28 mm Length of product 114 mm Material & colours Product material Polypropylene (PP) Colour of product Transparent Cap material High Density Polyethylene (HD-PE) Colour of cap Red Tube material Polypropylene (PP) Purity & certification Satisfies the requirement ADR Product in accordance with MDD or IVDD IVD CE certified CE Purity standard Come Grow With Us Sterilisation sterile Pyrogen-free Pyrogen-free Lot or serial number batched Packaging Minimum order qty. 300 Type of packaging Bag Pcs. / inner box 25 Pcs. / box 300 Pcs. / pallet 8400 Depth of case 588 mm Width of case 398 mm Height of case 255 mm Case volume 0,0597 cbm Weight of case 4,65 KG EAN of inner box 4038917111898 EAN of outer box 4038917013420 | pakovanje od 25 komada | 10 | пак.
27 | Epruveta, 15 mL, konusna sa zavrtnjem, plastična | Sarsted, Tube 15 ml, 120 x 17 mm, conical base, PP, with print, assembled red cap, 50 sterile and pyrogen-free pieces packed in the styrofoam container Product characteristics Label/ Print With printed label Colour of print/label White Graduation Yes Cap Assembled Type of cap Screw cap Base shape Conical base Centrifugation max (RPM) 15500 x g Size Sample volume 15 ml Diameter 17 mm Length of product 120 mm Material & colours Product material Polypropylene (PP) Colour of product Transparent Cap material High Density Polyethylene (HD-PE) Colour of cap Red Tube material Polypropylene (PP) Purity & certification Satisfies the requirement IATA Product in accordance with MDD or IVDD IVD CE certified CE Purity standard Come Grow With Us Sterilisation sterile Pyrogen-free Pyrogen-free Lot or serial number batched Packaging Minimum order qty. 500 Type of packaging Bag Pcs. / inner box 50 Pcs. / box 500 Pcs. / pallet 16000 Depth of case 648 mm Width of case 420 mm Height of case 145 mm Case volume 0,0395 cbm Weight of case 4,14 KG EAN of inner box 4038917113021 EAN of outer box 4038917013895 | pakovanje po 50 komada | 10 | пак.
28 | Epruveta, 16*100 mm | staklena |  | 100 | ком.
29 | Epruveta, sa konusnom osnovom i poklopcem, 15 mL | sterilna, nepirogena, graduisana, poklopac na zavrtanje (screw cap), polipropilenska, prozirna; φ 17 mm, visina 120 mm; mogućnost centrifugiranja do 15000g; autoklavabilna na 121°C; SARSTED ili odgovarajuće | dostaviti uzorak! | 100 | ком.
30 | Epruveta, sa konusnom osnovom i poklopcem, 50 mL | sterilna, nepirogena, graduisana, poklopac na zavrtanje (screw cap), polipropilenska, prozirna; φ 28 mm, visina 114 mm; mogućnost centrifugiranja do 15000g; autoklavabilna na 121°C; SARSTED ili odgovarajuće | dostaviti uzorak! | 100 | ком.
31 | Epruvete plastične zapremine 10 mL, dimenzije epruveta 16/100 | Spektar Čačak ili odgovarajuće | pakovanje po 1000 komada | 1 | пак.
32 | Epruvete sa konusnom osnovom i poklopcem, 15 ml | sterilne, nepirogene, graduisane, poklopac na zavrtanje (screw cap), polipropilenske, prozirne, širina 17 mm, visina 120 mm, mogucnost centrifugiranja do 15000g, autoklavabilne na 121 °C, max 50 kom/pak | pakovanje po 50 komada | 8 | пак.
33 | Epruvete sa konusnom osnovom i poklopcem, 50 ml | sterilne, nepirogene, graduisane, poklopac na zavrtanje (screw cap), polipropilenske, prozirne, širina 28 mm, visina 114 mm, mogućnost centrifugiranja do 15000g, autoklavabilne na 121 °C, max 25 kom/pak | pakovanje po 25 komada | 4 | пак.
34 | Erlenmajer, 250 mL | Erlenmeyer flask with stopper capacity 250 mL |  | 10 | ком.
35 | Erlenmajer, 500 mL | Erlenmeyer flask with stopper capacity 500 mL |  | 10 | ком.
36 | Filter papir | Macherey-Nagel ili odgovarajuće, MN651/120g,58x58cm, thickness 0.44mm, filtrat. speed 9s, |  | 1 | пак.
37 | Filter papir | Macherey-Nagel ili odgovarajuće, MN651/120g,58x58cm, thickness 0.44mm, filtrat. speed 9s, |  | 1 | пак.
38 | Gasni spric, 5 mL-10 mL | duzina igle 50 mm, izmenjiva igla |  | 1 | ком.
39 | glass tube | diameter 38 mm, wall tickness 1.5-2 mm, length 1 m |  | 1.5 | m
40 | Gumica za Pasterovu pipetu | silikonska, transparentna | pakovanje od 10 komada | 5 | пак.
41 | HPLC tube | Sarstedt ili odgovarajuće, Epruvete 5ml, 12x75mm, okruglo dno, PS, bez poklopca, nesterilne, Stack Pack, set=1000kom |  | 1 | пак.
42 | Kiveta za spektrofluorimetriju | Material: Quartzglass Suprasil; Light Path: 10x10 mm (Volume: cca. 3 mL) | HellmaAnalytics ili odgovarajuće | 2 | ком.
43 | Kvarcna kiveta za spektrofotometar | Optički put 10 mm, radna zapremina 3 mL |  | 2 | ком.
44 | Kvarcna kiveta za spektrofotometar mikro with detachable windows 52μl | Kvarcna kiveta za spektrofotometar Hellma, Absorption Cells, quartz glass SUPRASIL®, Order Number 106-0.20-40, Type 106-QS, Light Path 0,2 ± 0,005mm, Volume 52μl, No windows 2, Outer Dimensions -Height 45mm, Width 12.5mm, Depth 2,7.mm, Inner Dimensions- width 9 mm | ISO sertifikat za proizvodnju | 2 | ком.
45 | Kvarcna kiveta za spektrofotometar ultra mikro 120μl | Kvarcna kiveta za spektrofotometar Hellma ultra mikro, Absorption Cells, quartz glass SUPRASIL®, Order Number 105-025-40, 105.025-QS, Light Path 10mm, Volume 120μl, No windows 2, Outer Dimensions -Height 12 mm, Width 12.5 mm, Depth 2,7.mm, Inner Dimensions- width 2 mm, Base Thickness 1,5mm | ISO sertifikat za proizvodnju | 2 | ком.
46 | Laboratorijska čaša, 1 L | staklena, niska forma |  | 10 | ком.
47 | Laboratorijska čaša, 150 mL | staklena, niska forma |  | 10 | ком.
48 | Laboratorijska čaša, 2 L | staklena, niska forma |  | 2 | ком.
49 | Levak kvantitativni | stakleni, Φ10 cm |  | 4 | ком.
50 | Levak za odvajanje (po Squibb-u), 100 mL | stakleni |  | 2 | ком.
51 | Levak za odvajanje (po Squibb-u), 250 mL | stakleni |  | 2 | ком.
52 | LLG-Screw cap N 13, PP, black, closed top, pack of 100 | ZAVRTANJ ZA VIALU N 13, PP, CRNA, (100 kom u pakovanju); proizvođač: LAB LOGISTICS GROUP GMBH ili odgovarajuće | pakovanje od 100 komada | 2 | пак.
53 | LLG-Screw Neck Vial N 13, 4ml, O.D.: 14.75mm,, outer height: 45 mm, clear, flat bottom pack, of 100pcs | VIALA 4ML,S N 13-4 G,BELA NA ZAVRTANJ, (100 kom u pakovanju); proizvođač: LAB LOGISTICS GROUP GMBH ili odgovarajuće | pakovanje od 100 komada | 2 | пак.
54 | Magnet štapićasti, 20 * 6 mm |  |  | 5 | ком.
55 | Magnet štapićasti, 40 * 8 mm |  |  | 3 | ком.
56 | Magnet štapićasti, 60 * 9 mm |  |  | 1 | ком.
57 | Magneti (magnetne šipke za mešanje) | Okrugle, presvučene PTFE-om; dužina 10 mm, Φ 6 mm |  | 5 | ком.
58 | Magneti (magnetne šipke za mešanje) | okrugle, presvučene PTFE-om; dužina 25 mm, Φ 8 mm |  | 5 | ком.
59 | Maintenance Kit DGP-3600SD | Kompatibilan sa HPLC Ultimate 3000, ThermoScientific |  | 1 | ком.
60 | Membranski filter za mikrocentrifusku kivetu -Amicon Ultra-15 | Millipore, UFC903008, Amicon Ultra-15 Centrifugal Filter Unit with Ultracel-30 membrane, cut off 30 kDa, pakovanje od 8 kom | pakovanje od 8 komada | 1 | пак.
61 | Microcentrifuge tubes 1,5ml, amber-dark | pakovanje od 500 kom | dostaviti uzorak | 1 | пак.
62 | Mikrokiveta sa poklopcem | Kvarc Suprasil kiveta, spektralni okvir 200-2,500 nm, kapacitet 700 uL, put svetlosti 10 mm, PTFE poklopac, crni zidovi | 2 prozora, H × W × D 45 mm × 12.5 mm × 12.5 mm | 2 | ком.
63 | Mikrotuba sa poklopcem | 2.0 mL, plastična (PE ili PP), graduisana | dostaviti uzorak! | 500 | ком.
64 | Mikrotuba sa poklopcem | 1.5 mL, plastična (PE ili PP), φ 10.8mm, visina 39 mm, graduisana, sa prostorom za obeležavanje |  | 2000 | ком.
65 | Mikrotuba sa poklopcem | 2 mL, plastična (PE ili PP), φ 10.8mm, visina 39 mm, graduisana, sa prostorom za obeležavanje, Sarstedt ili odgovarajuće | dostaviti uzorak | 2000 | ком.
66 | Mikrotuba sa poklopcem (Eppendorf) | 0.5 mL |  | 2000 | ком.
67 | Mikrotuba sa poklopcem (Eppendorf) | 2 mL, nesterilna, plastična (PE ili PP), sa prostorom za obeležavanje | dostaviti uzorak | 1000 | ком.
68 | Mikrotuba sa poklopcem (Eppendorf) | 1.5 mL, nesterilna, plastična (PE ili PP) |  | 5000 | ком.
69 | Mikrotuba sa poklopcem (Eppendorf) | 1.5 mL, nesterilna, plastična (PE ili PP) sa prostorom za obeležavanje | dostaviti uzorak! | 2000 | ком.
70 | Mikrotuba sa poklopcem (Eppendorf) | 2.0 mL, nesterilna, plastična (PE ili PP) sa prostorom za obeležavanje | dostaviti uzorak! | 2000 | ком.
71 | Mikrotuba sa poklopcem (Eppendorf) | 0.5 mL, Sarstedt ili odgovarajuće | SafeSeal, 0.5 ml, with attached lid with a wide hinge and retaining cams, PP, neutral, minimal protein binding, can be centrifuged up to 20.000 x g, PCR Performance Tested certified, dostaviti uzorak | 1000 | ком.
72 | Mikrotuba sa poklopcem i zaptivnim mehanizmom koji omogućava upotrebu u PCR-u | 0.5 mL | dostaviti uzorak! | 2000 | ком.
73 | Mikrotube sa poklopcem | Mikrotube sa poklopcem, zapremina 1,5ml, max 1000 kom/pak | pakovanje od 1000 komada | 5 | пак.
74 | Multi-function rotator | Vertical multi-function rotator for thorough mixing in tubes, with multi-segment programme. Multi-function: vertical rotation, reciprocation, vibration. Continuous or timed operation for each phase. Vertical rotation speed 1-100 rpm (increment 1 rpm). Vertical rotation movements - overhead, 360 deg. Vertical rotation time setting range 0-250 sec. Reciprocal rotation 1-90 degrees turning angle (speed 1-100 rpm, increment 1 rpm). Reciprocal rotation time setting range 0-250 sec. Vibration: programmable in a burst of 1-5 seconds. Digital time setting 1 min - 24 hours/non-stop - increment 1 min. Maximum load 0.5 kg. Fully programmable sequence of functions, including pause. Platform for 26 microtubes (1.5 to 15 mL - up to diam. 15 mm) included. |  | 1 | ком.
75 | Nastavci 1000 uL | Pipette Tip 1000µl, neutral, Pakovanje od 250 kom. Sardstet ili odgovarajuće | dostaviti uzorak! | 40 | пак.
76 | Nastavci 200 uL | Pipette Tip 200µl, yellow, Pakovanje od 1000 kom. Sardstedt ili odgovarajuće | dostaviti uzorak! | 20 | пак.
77 | Nastavci za automatske pipete, 0.1-10 μL | Eppendorf ili odgovarajuće | dostaviti uzorak! | 1000 | ком.
78 | Nastavci za automatske pipete, 0.1-10 μL | Eppendorf ili odgovarajuće | dostaviti uzorak! | 3000 | ком.
79 | Nastavci za automatske pipete, 0.1-10 μL | za pipetu Brand varijabilnu 1-10 μL, nastavci Thermo ili odgovarajuće | dostaviti uzorak! | 1000 | ком.
80 | Nastavci za automatske pipete, 100-1000 μL | Eppendorf ili odgovarajuće | dostaviti uzorak! | 2000 | ком.
81 | Nastavci za automatske pipete, 100-1000 μL | Eppendorf ili odgovarajuće | dostaviti uzorak! | 3000 | ком.
82 | Nastavci za automatske pipete, 100-1000 μL | Eppendorf ili odgovarajuće | dostaviti uzorak! | 5000 | ком.
83 | Nastavci za automatske pipete, 100-1000 μL | Eppendorf ili odgovarajuće | dostaviti uzorak! | 2000 | ком.
84 | Nastavci za automatske pipete, 100-1000 μL | Eppendorf ili odgovarajuće | dostaviti uzorak! | 1000 | ком.
85 | Nastavci za automatske pipete, 100-1000 μL | za pipetu Brand varijabilnu 100-1000 μL, nastavci Srstedt ili odgovarajuće | dostaviti uzorak! | 1000 | ком.
86 | Nastavci za automatske pipete, 1000 ul | kompatibilnost sa Finepipett F1 pipetom 100 – 1000 ul (Thermo Scientific ili odgovarajuće) | dostaviti uzorak! | 3000 | ком.
87 | Nastavci za automatske pipete, 2-200 uL | kompatibilnost sa Finepipett F1 pipetama 2-20 ml i 20-200 ul (Thermo Scientific ili odgovarajuće), autoklavabilni na 121 °C , dužina 51 mm, prečnik 8 mm, graduisani | Pakovanje od 500 komada; dostaviti uzorak! | 10 | пак.
88 | Nastavci za automatske pipete, 2-200 μL | Eppendorf ili odgovarajuće | dostaviti uzorak! | 3000 | ком.
89 | Nastavci za automatske pipete, 2-200 μL | Eppendorf ili odgovarajuće | dostaviti uzorak! | 7000 | ком.
90 | Nastavci za automatske pipete, 2-200 μL | Eppendorf ili odgovarajuće | dostaviti uzorak! | 2000 | ком.
91 | Nastavci za automatske pipete, 2-200 μL | Eppendorf ili odgovarajuće | dostaviti uzorak! | 3000 | ком.
92 | Nastavci za automatske pipete, 2-200 μL | Eppendorf ili odgovarajuće | dostaviti uzorak! | 2000 | ком.
93 | Nastavci za automatske pipette, 0.1 do 10 µl | Kompatibilnost sa Gilson, Eppendorf, Biohit, Finnpipette, Socorex i TermoScientific pipetama, autoklavabilni na 121 °C, dužina 31 mm, prečnik 6mm, visina 31 mm,graduisani | 1000 kom/pak; dostaviti uzorak | 4 | пак.
94 | NMR kiveta | limit 200 MHz frequency, L 7 in.;5 mm diam.; camber 25 μm; concentricity 51 μm; wall thickness 0.43 mm |  | 40 | ком.
95 | normalni sud 5 ml | class A, blue grad., NS 10/19 with glass stopper |  | 2 | ком.
96 | Normalni sud, 1 mL | stakleni |  | 5 | ком.
97 | Normalni sud, 50 mL | stakleni |  | 5 | ком.
98 | Normalni sud, 50 mL | plastični, A klasa |  | 5 | ком.
99 | Omnifit kit kolona 6112 | V 9.5 mL, L × I.D. 150 mm × 10 mm, 600 psi, borosilikatno staklo | 1 glass column, 2 fixed-length endpieces with Viton O-rings, 2 × 1/4-28 UNF endcaps, 1 Fittings Kit, and 1 Frit Kit. | 1 | ком.
100 | Omnifit kit kolona 6416 | V 83 mL, L × I.D. 500 mm × 15 mm, 300 psi, borosilikatno staklo | 1 glass column, 2 fixed-length endpieces with Viton O-rings, 2 × 1/4-28 UNF endcaps, 1 Fittings Kit, and 1 Frit Kit | 1 | ком.
101 | Pasterova pipeta | 3.0 mL, plastična (PE ili PP), graduisana | dostaviti uzorak! | 500 | ком.
102 | Pasterova pipeta, plastična (PE ili PP) | 3 mL, graduisana, nesterilna | dostaviti uzorak | 200 | ком.
103 | Pasterova pipeta, staklena | dužina 23 cm |  | 500 | ком.
104 | Petri šolja, plastična, sterilna | φ 90 mm | dostaviti uzorak! | 1000 | ком.
105 | pH elektroda | Kompatibilna sa E520HX:Staklena elektroda, model E520 BNC, Amtast, USA |  | 1 | ком.
106 | pH univerzalni papir | pH-indicator strips pH 0 - 14 Universal indicator non-bleeding pH 0 - 14 | pakovanje od 100 trakica u plasticnoj kutiji | 2 | ком.
107 | Plastična kiveta sa zatvaračem | 50 mL, graduisana, nesterilna | Dostaviti uzorak | 1000 | ком.
108 | Plastična kiveta sa zatvaračem i konusnim dnom | 50 mL |  | 100 | ком.
109 | Propipeta | Univerzalna, za pipete do 10 mL |  | 1 | ком.
110 | Propipeta | Univerzalna, za pipete do 100 mL |  | 1 | ком.
111 | Pt Sample cone | kompatibilan sa Thermo Scientific iCAP Qc ICP-MS |  | 1 | ком.
112 | PVC 2-Stop Flared Tubing, Orange/White (0.64mm) 12/pak | Kompatabilan sa Thermo iCAP 6500 Duo ICP-OES | pakovanje od 12 komada | 1 | пак.
113 | PVC 3-Stop Flared Tubing, Orange/Yellow/Orange (0.51mm) 12/pk | kompatibilan sa Thermo Scientific iCAP Qc ICP-MS | pakovanje od 12 komada | 1 | пак.
114 | Rings for Bottom Feed Adapter | IVA 29000063 ili ekvivalent |  | 10 | ком.
115 | Round-bottom flask 50 ml, amber glass, | NS 29/32, Boro 3.3,, DIN 12394 | staklo evropskog porekla | 2 | ком.
116 | rubber stopper for infusion bottle | http://sell.lulusoso.com/selling-leads/167236/rubber-stopper-for-infusion-bottle-bung-cap-seal-bottle-cap-rubber-seal.html | dostaviti uzorak | 100 | ком.
117 | Sample loop 20µL for Cheminert | Kompatibilan sa HPLC Ultimate 3000, ThermoScientific |  | 1 | ком.
118 | schlenk tube | Supplied with high vacuum valve with PTFE O-ring at tip and PTFE wiper to protect Viton O-ring on shaft. Capacity 100mL. Valve size 0-8mm. Tube O.D.*Length is 40*165mm. |  | 1 | ком.
119 | schlenk tube | Supplied with high vacuum valve with PTFE O-ring at tip and PTFE wiper to protect Viton O-ring on shaft. Capacity 50mL. Valve size 0-8mm. Tube O.D.*Length is 28*120mm. |  | 1 | ком.
120 | schlenk tube | Supplied with high vacuum valve with PTFE O-ring at tip and PTFE wiper to protect Viton O-ring on shaft. Capacity 25mL. Valve size 0-8mm. Tube O.D.*Length is 26*110mm. |  | 1 | ком.
121 | Septa for Wide Opening Screw Caps | Ivory, PTFE/red silicone rubber septa 100/pak |  | 2 | пак.
122 | Silikonsko crevo, obično | 6/10 mm | plavo ili belo | 5 | m
123 | Smooth tin capsules (for liquids), 2.88 x 6 mm | IVA ili ekvivalent, za Flash HT |  | 1500 | ком.
124 | Špric boca, 500 mL | PE |  | 2 | ком.
125 | Špric boca, 500 mL | PE, narrow neck |  | 5 | ком.
126 | staklena pipeta 0.5 mL | Graduation Interval: 0.01 mL, AR-glass, full drownspout, brown grad |  | 4 | ком.
127 | Stakleni štapić | duzina 30-40 cm |  | 10 | ком.
128 | Stalak za automatske pipete, za 6 komada | Sarsted, Tube 15 ml, 120 x 17 mm, conical base, PP, with print, assembled red cap, 50 sterile and pyrogen-free pieces packed in the styrofoam container Product characteristics Label/ Print With printed label Colour of print/label White Graduation Yes Cap Assembled Type of cap Screw cap Base shape Conical base Centrifugation max (RPM) 15500 x g Size Sample volume 15 ml Diameter 17 mm Length of product 120 mm Material & colours Product material Polypropylene (PP) Colour of product Transparent Cap material High Density Polyethylene (HD-PE) Colour of cap Red Tube material Polypropylene (PP) Purity & certification Satisfies the requirement IATA Product in accordance with MDD or IVDD IVD CE certified CE Purity standard Come Grow With Us Sterilisation sterile Pyrogen-free Pyrogen-free Lot or serial number batched Packaging Minimum order qty. 500 Type of packaging Bag Pcs. / inner box 50 Pcs. / box 500 Pcs. / pallet 16000 Depth of case 648 mm Width of case 420 mm Height of case 145 mm Case volume 0,0395 cbm Weight of case 4,14 KG EAN of inner box 4038917113021 EAN of outer box 4038917013895 |  | 1 | ком.
129 | Syringe filter for HPLC filtration | PTFE, hydrophobic, d=25 mm; pore size 0.45 micrometer |  | 500 | ком.
130 | teflonska slavina, otvora 2,5 mm, NS 14.5 | Acc. to DIN 12541-1 and in addition to DIN standard, with PTFE plug and screwthread retaining device, one straight bore, material: borosilicate glass 3.3, leakage rate acc. to DIN 12540-1 | Lenz ili odgovarajuće | 5 | ком.
131 | Test tube brush | dia.10mm, length 190 mm, natural hair, w.wool tip |  | 5 | ком.
132 | Test tube brush | dia. 30mm, length 270mm, natural hair w. wool tip |  | 5 | ком.
133 | Tin capsules for solids, 3.3 x 5 mm | IVA Analysenttechnik ili odgovarajuće |  | 2000 | ком.
134 | Tube za dijalizu | D-Tube™ Dialyzer Midi, MWCO 3.5 kDa |  | 1 | пак.
135 | UltraClean 18mm acrew cap w/septa | Screw cap, headspace, steel, magnetic cap, PTFE/silicone septa (top white, bottom blue), 18 mm, 100/pk |  | 2 | пак.
136 | Vacuum tubing | rubber, 8 x 5 mm wall, p.m, hardness 45 shore A | dostaviti uzorak | 2 | m
137 | Viale bez poklopca (Vial, screw 2 ml, clr, cert, 100/pak), providne | Kompatibilan sa HPLC Ultimate 3000, ThermoScientific | pakovanje od 100 komada, dostaviti uzorak | 4 | пак.
138 | Viale sa poklopcima i septumima (Screw vials with caps and septa 100/pak, zapremina 2 ml), providne viale | Kompatibilan sa HPLC Ultimate 3000, ThermoScientific | pakovanje od 100 komada, dostaviti uzorak | 2 | пак.
139 | Whatman 542 | circles, diam.110 mm, particle retention. 2.7 μm |  | 1 | пак.
140 | Z529087 ALDRICH Shigemi Advanced NMR microtube assembly | matched with CDCl3, Shigemi, CMS-005TB, bottom L 8 mm; limit 900 MHz frequency |  | 1 | ком.
141 | Vials | Storage vial kit, 4 mL, 15 x 45 clear vial, 13-425 closed top, PTFE/silicone septa, 100/pk | Agilent ili odgovarajuće | 1 | kom
142 | Kivete za UV/VIS | Hellma® absorption cuvettes, standard cells, Micro optical glass, limit 320-2,500 nm spectral range, pathlength 10 mm, chamber volume up to 500 μL |  | 1 | пак.
143 | Balon okruglo dno NS 14/23 100 ml | Round Bottom Flask 100ml NS 14/23 | ISO LAB ili odgovarajuće | 10 | ком.
144 | Čep NS19 | "STOPPERS - “hallow glass” - “hexagonal"", NS 19/26" |  | 10 | ком.
145 | Balon od 100 ml | običan bez šlifa, okruglo dno, staklo | staklo evropskog porekla | 20 | ком.
146 | Balon od 500 ml | običan bez šlifa, okruglo dno, staklo | staklo evropskog porekla | 20 | ком.
147 | Balon od 1000 ml | običan bez šlifa, okruglo dno, staklo | staklo evropskog porekla | 20 | ком.
148 | Špric boca, 250 mL | bez oznake, PE-LD | dostaviti uzorak! | 30 | ком.
149 | safety wash bottle PE-LD distilled water | colour coded cap and bottle, printing on the body of safety symbols as well as chemical formula with non scratch ink |  | 15 | ком.
150 | safety wash bottle PE-LD acetone | colour coded cap and bottle, printing on the body of safety symbols as well as chemical formula with non scratch ink |  | 15 | ком.
151 | Čaša od 250 ml | staklena, niska forma |  | 50 | ком.
152 | Čaša od 600 ml | staklena, niska forma |  | 30 | ком.
153 | Menzura 10 ml | staklena, graduisana,visoka forma |  | 30 | ком.
154 | Šlif, ženski, NŠ 19 | stakleni |  | 20 | ком.
155 | Levak za odvajanje po Squibb-u od 250 mL sa NS 29 | sa staklenim cepom i teflonskom slavinom |  | 3 | ком.
156 | Ace O-rings, FETFE® I.D. 5.3 mm, wall size 1.78 mm |  | pakovanje od 12 komada | 4 | pak
157 | Ace O-rings, FETFE® I.D. 9.2 mm, wall size 2.6 mm |  | pakovanje od 12 komada | 2 | pak
158 | Ace O-rings, FETFE® I.D. 18.6 mm, wall size 3.5 mm |  | pakovanje od 6 komada | 2 | pak
159 | Ace pressure tube bushing type, Front seal, volume 60 mL, L × O.D. 10.2 cm × 38.1 mm |  |  | 1 | kom
160 | Ace O-rings, FETFE® I.D. 21.8 mm, wall size 3.5 mm |  | pakovanje od 6 komada | 2 | pak
161 | Termometar opseg od -100 do +30 °C |  |  | 1 | kom
162 | Termometar opseg od -200 do +30 °C |  |  | 1 | kom
163 | Septa for Wide Opening Screw Caps / Ivory, PTFE/red silicone rubber septa 100/pak |  | pakovanje od 100 komada | 10 | pak
164 | Wilmad® NMR tubes 5 mm diam., economy limit 200 MHz frequency, L 7 in. |  | pakovanje od 5 komada | 8 | pak
165 | Screw top vial, clear, certified, 2 mL, blue, PTFE/silicone, 100/pk, 5185-5950A |  | pakovanje od 100 komada | 10 | kom
166 | Support Tube, Quartz, 65 mm | za aparat Vario EL III, Elementar |  | 1 | kom
167 | Weighing bottles with NS lid, Borosilicate glass 3.3 | low; V-10ml; R-35mm; H-30mm; NS-29/12 |  | 10 | kom
168 | Weighing bottles with NS lid, Borosilicate glass 3.3 | low; V-11ml; R-40mm; H-25mm; NS-34,5/12 |  | 10 | kom
169 | Weighing bottles with NS lid, Borosilicate glass 3.3 | tall; V-19ml; R-25mm; H-40mm; NS-19/12 |  | 10 | kom
170 | Menzura 100 ml | borosilikatno staklo, graduisana ,A klasa |  | 2 | kom
171 | Menzura 10 ml | borosilikatno staklo, graduisana ,A klasa |  | 3 | kom
172 | Porcelanski tigl | d=50 mm, h=60 mm | dostaviti uzorak | 20 | kom
173 | Normalni sud 100 ml | stakleni, A klasa |  | 10 | kom
174 | Normalni sud 50 ml | stakleni, A klasa |  | 10 | kom
175 | Ulošci za uzorkovanje vazduha ORBO™32 Small Activated Coconut Charcoal(20/40), 100/50mg | Sigma Aldrich ili ekvivalent |  | 10 | kom