## Sheet1
Prilog uz konkursnu dokumentaciju JN 24/18
Partija broj | Naziv | Opis | Napomena | Količina | Jedinica mere | Cena po jedinici mere bez PDV-a | Ukupno bez PDV-a( kolona 5x kolona 7) | Ukupno sa PDV-om ( kolona 8x PDV) | Proizvođač
1 | 4 MM MAS ROTOR CAPS | Za Bruker NMR 500 MHz | Ponuđač mora imati autorizaciju proizvođača Bruker za distribuciju | 1 | ком.
2 | 4 MM MAS ROTOR KIT | Za Bruker NMR 500 MHz | Ponuđač mora imati autorizaciju proizvođača Bruker za distribuciju | 1 | ком.
3 | Ash finger, Quartz, Vario EL 60 mm (ili 61.5 mm, cevčica za sakupljanje pepela) | for elemental analysis | za aparat Vario EL III, Elementar | 5 | ком.
4 | Avan, porcelanski | prečnik dna 7,5 cm, visina ne manja od 6 cm, glaziran |  | 3 | ком.
5 | Balon, jednogrli, 1 L | stakleni, okruglo dno, sa šlifom NŠ 29 |  | 1 | ком.
6 | Balon, jednogrli, 100 mL | stakleni, okruglo dno, sa šlifom NŠ 29 |  | 3 | ком.
7 | Balon, jednogrli, 25 mL | stakleni, okruglo dno, sa šlifom NŠ 14 |  | 3 | ком.
8 | Balon, jednogrli, 25 mL | stakleni, okruglo dno, sa šlifom NŠ 19 |  | 10 | ком.
9 | Balon, jednogrli, 50 mL | stakleni, okruglo dno, sa šlifom NŠ 14 |  | 3 | ком.
10 | Balon, jednogrli, 50 mL | stakleni, okruglo dno, sa šlifom NŠ 19 |  | 10 | ком.
11 | Balon, jednogrli, 500 mL | stakleni, okruglo dno, sa šlifom NŠ 29 |  | 1 | ком.
12 | Bireta po Schelbach-u, 10 mL | staklena |  | 2 | ком.
13 | Bočice zapremine 4 mL sa punim teflonskim čepom | 100 kom/pak | dostaviti uzorak! | 2 | пак.
14 | Burette | Lateral stopcock, Schellbach stripe, class AS, capacity 10 mL, grad. 0.02 mL, PTFE spindle |  | 2 | ком.
15 | Burette | Lateral stopcock, Schellbach stripe, class AS, capacity 25 mL, grad. 0.05 mL, PTFE spindle |  | 2 | ком.
16 | C110 stampane elektrode | screen-printed carbon electrode c110 |  | 1 | ком.
17 | Četkica za pranje epruveta | broj 0 |  | 5 | ком.
18 | Četkica za pranje epruveta | broj 1 |  | 5 | ком.
19 | Četkica za pranje epruveta | broj 1 |  | 2 | ком.
20 | Četkica za pranje epruveta | broj 2 |  | 5 | ком.
21 | Četkica za pranje epruveta | broj 2 |  | 2 | ком.
22 | Četkica za pranje epruveta | broj 2 |  | 5 | ком.
23 | Četkica za pranje epruveta | broj 3 |  | 2 | ком.
24 | Četkica za pranje epruveta | broj 3 |  | 5 | ком.
25 | Četkica za pranje epruveta | broj 4 |  | 2 | ком.
26 | Četkica za pranje epruveta | broj 5 |  | 1 | ком.
27 | Četkica za pranje epruveta | broj 5 |  | 5 | ком.
28 | Četkica za pranje epruveta | broj 6 |  | 5 | ком.
29 | Četkica za pranje epruveta | broj 6 |  | 1 | ком.
30 | Četkica za pranje epruveta | broj 7 |  | 5 | ком.
31 | Četkica za pranje epruveta | broj 7 |  | 1 | ком.
32 | Combust./Reduct.-tube, Quartz (Cev za sagorevanje/redukciju, kvarcna) | for elemental analysis | za aparat Vario EL III, Elementar | 1 | ком.
33 | DISPOSABLE NEEDLES | PP/STAINLESS STEEL, 2.1 x 80 mm, water color-green, 14G x 3 1/8", pack of 100 |  | 1 | пак.
34 | Double-tip syringe needle | SS, 20ga, 12 in long, non-coring deflecting tip |  | 2 | ком.
35 | Duran boca sa PP čepom SG 500 ml | BOCA SA PP CEPOM SG, 500ML (DURAN boca sa široko grlo, sa čepom-zatvaračem, mogućnost autoklaviranja 500 ml, proizvodač: Schott Duran ili odgovarajuće) |  | 4 | ком.
36 | Duran boca sa PP čepom SG 250 ml | DURANR GLS 80 LABORATORY GLASS (DURAN boca sa široko grlo, sa čepom-zatvaračem, mogućnost autoklaviranja 250 ml, proizvodač: Schott Duran ili odgovarajuće) |  | 10 | ком.
37 | Ependorf tube | 1.5 mL, safe lock, 1000 kom/pak | Ependorf ili odgovarajuće, dostaviti uzorak | 2 | пак.
38 | Ependorf tube | 2.0 mL, safe lock, 1000 kom/pak | Ependorf ili odgovarajuće, dostaviti uzorak | 2 | пак.
39 | ependorfi 1.5 mL | mikrotube 1,5 mL, nesterilne; dostaviti uzorak | dostaviti uzorak | 3000 | ком.
40 | ependorfi 2 mL. nesterilne | mikrotube 2 mL, nesterilne; dostaviti uzorak | dostaviti izorak | 2000 | ком.
41 | Eppendorf tubes | volume 5.0 mL, pack of 100 | Ependorf ili odgovarajuće, dostaviti uzorak | 2 | пак.
42 | Epruveta, sa konusnom osnovom i poklopcem, 15 mL | sterilna, nepirogena, graduisana, poklopac na zavrtanje (screw cap), polipropilenska, prozirna; φ 17 mm, visina 120 mm; mogućnost centrifugiranja do 15000g; autoklavabilna na 121°C; SARSTED ili odgovarajuće |  | 100 | ком.
43 | Epruveta, sa konusnom osnovom i poklopcem, 50 mL | sa suknjicom, sterilna, nepirogena, graduisana, poklopac na zavrtanje (screw cap), polipropilenska, prozirna; φ 28 mm, visina 114 mm; mogućnost centrifugiranja do 15000g; autoklavabilna na 121°C; SARSTED ili odgovarajuće |  | 100 | ком.
44 | Erlenmajer šlifovani sa čepom, 100 mL | stakleni, NŠ 29, stakleni čep |  | 10 | ком.
45 | Erlenmajer, 250 mL | stakleni, široko grlo |  | 10 | ком.
46 | Erlenmajer, 250 mL | stakleni, usko grlo |  | 10 | ком.
47 | Filter cartridge – kertridž za ultra čistu vodu | Polishing Cartridge for Smart2Pure Systems Mfr. No. 09.1020 |  | 1 | ком.
48 | Filter za špric, PTFE | 25 mm, 0.45 μL | pakovanje od 100 komada | 3 | пак.
49 | Flask rings, pressed cork | Height 30 mm, for flasks 10/100 mL, External diameter 80 mm, internal diameter 30 mm |  | 2 | ком.
50 | Flask rings, pressed cork | Height 30 mm, for flasks 250/500 mL, External diameter 110 mm, internal diameter 60 mm |  | 2 | ком.
51 | Flask T-25cm2 "Standard", | za kulturu celija, sterilni, crveni poklopac sa filterom, set=10kom. |  | 10 | пак.
52 | Flask T-75cm2 "Standard", | za kulturu celija, sterilni, crveni poklopac sa filterom, set=5kom. |  | 5 | пак.
53 | Gumica za staklenu Pasterovu pipetu | Silikonska, 10 kom/pak | dostaviti uzorak! | 5 | пак.
54 | Headspace screw top vial | 20 mL, clear, 23x75 mm. 100/pk | dostaviti uzorak! | 2 | пак.
55 | Hexagonal weighing boats | Antistatic, PS, small, dimensions 38x25x9 mm, white colour |  | 100 | ком.
56 | HR-MAS DISPOSABLE INSERT KIT | Za Bruker NMR 500 MHz | Ponuđač mora imati autorizaciju proizvođača Bruker za distribuciju | 1 | ком.
57 | HR-MAS INSERT KIT | Za Bruker NMR 500 MHz | Ponuđač mora imati autorizaciju proizvođača Bruker za distribuciju | 1 | ком.
58 | HR-MAS ROTOR KIT 12 ul, Kel-F | Za Bruker NMR 500 MHz | Ponuđač mora imati autorizaciju proizvođača Bruker za distribuciju | 1 | ком.
59 | HR-MAS ROTOR KIT 12 ul, teflon | Za Bruker NMR 500 MHz | Ponuđač mora imati autorizaciju proizvođača Bruker za distribuciju | 1 | ком.
60 | HR-MAS ROTOR KIT 50 ul, teflon | Za Bruker NMR 500 MHz | Ponuđač mora imati autorizaciju proizvođača Bruker za distribuciju | 1 | ком.
61 | iCAP ICP-OES Corrosion Inhibitor Havoline | XLI32765, za instrument Thermo Scientific iCAP 6500 Duo ICP-OES, каталошки број: 842312052621 |  | 1 | ком.
62 | Inlet liner | Inlet liner, split, low pressure drop, glass wool, 5/pk |  | 1 | пак.
63 | Inlet liner 4 mm ID trap | Inlet liner, splitless, single taper, deactivated, 5/pk |  | 1 | пак.
64 | Insert for screw vials | ND9, glass, 0,1 mL, clear, conical 15 mm tip, O.D. 6 mm, outer height 31 mm, pack of 100 | dostaviti uzorak | 5 | пак.
65 | Insert for screw vials | ND9, glass, 0.1 mL, clear, O.D. 5.7 mm, height 29 mm, with plastic spring, pack of 100 | dostaviti uzorak | 3 | пак.
66 | Klema za balon | otvaranje u rasponu od 20-40 mm | dostaviti uzorak | 5 | ком.
67 | Klema za kondenzator | viljuškasta | dostaviti uzorak! | 5 | ком.
68 | Klema za kondenzator | viljuškasta, Condenser clamp,w/o.bosshead,range 80 mm | dostaviti uzorak | 3 | ком.
69 | Klema, mala | 12-15 mm | dostaviti uzorak | 3 | ком.
70 | Laboratorijska čaša, 1 L | staklena, visoka forma |  | 5 | ком.
71 | Laboratorijska čaša, 2 L | staklena, visoka forma |  | 4 | ком.
72 | Laboratorijska čaša, 250 mL | staklena, niska forma |  | 10 | ком.
73 | Laboratorijska čaša, 5 L | staklena, niska forma |  | 2 | ком.
74 | Levak stakleni, kratka cev | prečnik levka oko 55 mm; prečnik cevi oko 8 mm; dužina cevi oko 55 mm |  | 10 | ком.
75 | Levak za odvajanje (po Squibb-u), 100 mL | stakleni, sa Pyrex-ovom (plavom) slavinom i staklenim čepom |  | 2 | ком.
76 | Levak za odvajanje (po Squibb-u), 25 mL | stakleni, sa Pyrex-ovom (plavom) slavinom i staklenim čepom |  | 2 | ком.
77 | Menzura, 100 mL | borosilikatno staklo, graduisana |  | 5 | ком.
78 | Menzura, 250 mL | borosilikatno staklo, graduisana |  | 4 | ком.
79 | Menzura, 500 mL | borosilikatno staklo, graduisana |  | 2 | ком.
80 | MF-1040 alumina polishing pads | 20/pkg |  | 1 | ком.
81 | MF-1043 electrode modifier - fine grit polishing |  |  | 1 | ком.
82 | MF-2058 electrode modifier - diamond polishing |  |  | 1 | ком.
83 | Mikrotuba sa poklopcem | 1.5 mL, plastična (PE ili PP), φ 10.8mm, visina 39 mm, graduisana, sa prostorom za obeležavanje | Dostaviti uzorak! | 20000 | ком.
84 | Mikrotuba sa poklopcem | 2 mL, plastična (PE ili PP), φ 10.8 mm, visina 39 mm, graduisana, sa prostorom za obeležavanje | Dostaviti uzorak! | 10000 | ком.
85 | Mikrotuba sa poklopcem (Eppendorf) | 1.5 mL, nesterilna, plastična (PE ili PP) | dostaviti uzorak | 1000 | ком.
86 | Mikrotuba sa poklopcem (Eppendorf) | 2.0 mL, nesterilna, plastična (PE ili PP) | dostaviti uzorak | 2000 | ком.
87 | Mikrotuba sa poklopcem (Eppendorf) Low protein binding | 0.5 mL | dostaviti uzorak | 1000 | ком.
88 | Mikrotuba sa poklopcem (Eppendorf) Low protein binding | 1.5 mL | dostaviti uzorak | 1000 | ком.
89 | Mikrotuba sa poklopcem i zaptivnim mehanizmom koji omogućava upotrebu u PCR-u | 0.5 mL | Dostaviti uzorak! | 10000 | ком.
90 | mikrotube (reaction tubes) | 0,5 mL, PP, colourless, safety closure, pack of 500 | dostaviti uzorak | 2 | пак.
91 | Muf za kleme | dvostrani | dostaviti uzorak | 5 | ком.
92 | Muf za kleme |  | dostaviti uzorak! | 5 | ком.
93 | Nastavci za automatske pipete, 1-200 uL | žuti, Brand ili odgovarajuće 1000 kom/pak | dostaviti uzorak | 2 | пак.
94 | Nastavci za automatske pipete, 10 uL, 1000 kom/pak | Kompatibilno sa Rainin pipetama | dostaviti uzorak | 1 | пак.
95 | Nastavci za automatske pipete, 100-1000 uL, 1000 kom/pak | Kompatibilno sa Rainin pipetama | dostaviti uzorak | 2 | пак.
96 | Nastavci za automatske pipete, 100-1000 uL, 1000 kom/pak | plavi, Brand ili odgovarajuće | dostaviti uzorak | 3 | пак.
97 | Nastavci za automatske pipete, 100-1000 μL | eppendorf ili odgovarajuće | dostaviti uzorak! | 2000 | ком.
98 | Nastavci za automatske pipete, 2-200 μL | eppendorf ili odgovarajuće | dostaviti uzorak! | 5000 | ком.
99 | Nastavci za automatske pipete, 250 uL, 1000 kom/pak | Kompatibilno sa Rainin pipetama | dostaviti uzorak | 1 | пак.
100 | Nastavci za automatsku pipetu, zapremina 500 uL do 5000 uL | Kompatibilno sa Eppendorf pipetom, 250 kom/pak | dostaviti uzorak | 1 | пак.
101 | Nastavci za Rainin automatsku pipetu 100-1000uL | RC-L1000/10 Metler Toledo | pakovanje od 1000 komada, dostaviti uzorak | 2 | пак.
102 | Nastavci za Rainin automatsku pipetu 500-5000uL | RC-L5000 Metler Toledo | pakovanje od 1000 komada, dostaviti uzorak | 2 | пак.
103 | Nitrogen round-bottom flasks (to Schlenk) with NS stopcock, 500 mL | 500 mL, Socket NS 29/32, staklena slavina sa otvorom od 2,5 mm, Lenz ili odgovarajuće |  | 1 | ком.
104 | Nitrogen tubes (Schlenk tubes) with Socket and NS stopcock, 100 mL | 100 mL, Socket NS 14/23, staklena slavina sa otvorom od 2,5 mm, Lenz ili odgovarajuće |  | 1 | ком.
105 | NMR tubes | Wilmad , diam 5 mm, economy, 500 MHz, L 7 in | pakovanje od 5 komada | 3 | пак.
106 | Normalni sud, 10 mL | stakleni |  | 10 | ком.
107 | Normalni sud, 250 mL | stakleni |  | 2 | ком.
108 | O-ring 7.5 x 2.5 (gumice za kvarcni most) | for elemental analysis | za aparat Vario EL III, Elementar | 6 | ком.
109 | O2-lance 150 mm | for elemental analysis | za aparat Vario EL III, Elementar | 2 | ком.
110 | Pasterova pipeta, plastična (PE ili PP) | 3 mL, graduisana, nesterilna |  | 1000 | ком.
111 | Pasterova pipeta, plastična (PE ili PP) | 3 mL, graduisana, nesterilna |  | 2000 | ком.
112 | pasterove pipete | dužina oko 30 cm (13 1/4 in) |  | 1000 | ком.
113 | Pasteur pipette | Plastic, PE or PP, macro, graduated, non-sterile, capacity 3.0 mL, length 155 mm, pack of 500 |  | 1 | пак.
114 | Pipeta klipna graduisana, 1 mL |  |  | 5 | ком.
115 | Pipeta klipna graduisana, 10 mL |  |  | 2 | ком.
116 | Pipeta klipna graduisana, 2 mL |  |  | 2 | ком.
117 | Pipeta klipna graduisana, 5 mL |  |  | 2 | ком.
118 | PIPETA PO PASTERU STAKLENA 230mm | pack of 250, capacity 2 mL |  | 1 | пак.
119 | Plastična kiveta sa zatvaračem | 15 mL |  | 100 | ком.
120 | Plastična kiveta sa zatvaračem | 50 mL, konusno dno, za centrifugu | pakovanje od 25 komada | 4 | пак.
121 | Polypropylene NMR tube caps | NMR tude size 5 mm, 100 kom/pak |  | 2 | пак.
122 | Prava slavina sa PTFE čepom | NB 12.5, 2.5 mm | dostaviti uzorak! | 3 | ком.
123 | Prava slavina sa PTFE čepom | NB 14.5, 2.5 mm | dostaviti uzorak! | 3 | ком.
124 | Prava slavina sa PTFE čepom | NB 18.5, 4 mm | dostaviti uzorak! | 3 | ком.
125 | Pretreatment cartridge (RO membrane) – kertridž sa reversnom osmozom | RO Membrane and integrated pretreatment for Smart2Pure 3L/hr models Mfr. No. 09.2003 |  | 1 | ком.
126 | Protective Tube, Quartz, Vario EL (zaštitna cev) | za aparat Vario EL III, Elementar | za aparat Vario EL III, Elementar | 3 | ком.
127 | Screw cap | N13, black, PP, closed top, red rubber/FER colourless, hardness 40r shore, thickness 1.5 mm, pack of 100 |  | 1 | пак.
128 | Serološke pipete 10 ml | PS, sterilne, pojedinacno zapakovane, set=50kom. |  | 5 | пак.
129 | Serološke pipete 25 ml, | sterilne, pojed.zapakovane, PS, set=25kom. |  | 5 | пак.
130 | Serološke pipete od 25 ml | sterilne, pojedinačno zapakovane, PS, Sarstedt ili odgovarajuće | pakovanje od 25 komada | 2 | пак.
131 | Serološke pipete od 50 ml | sterilne, pojedinačno zapakovane, PS, Sarstedt ili odgovarajuće | pakovanje od 20 komada | 2 | пак.
132 | Serum Tubing Vials, 10 mL | Crimp Top Vials, Color: Clear; ID x OD: 24 x 50 mm; Smooth cylindrical shape with no seams; for freeze-drying and sample storage; Made from low extractable borosilicate glass. | dostaviti uzorak! | 2000 | ком.
133 | Sintered glass filter disc | nominal diameter 120 mm, porosity grade 1 |  | 3 | ком.
134 | Sintered glass filter disc | nominal diameter 30 mm, porosity grade 1 |  | 3 | ком.
135 | Sintered glass filter disc | nominal diameter 50 mm, porosity grade 1 |  | 3 | ком.
136 | sintered glass filter disc | nominal diameter 50 mm, porosity grade 1 |  | 2 | ком.
137 | Šolja za kristalizaciju, φ 100 mm | staklena, evropsko staklo, otporno na grejanje |  | 5 | ком.
138 | Šolja za kristalizaciju, φ 150 mm | staklena, evropsko staklo, otporno na grejanje |  | 2 | ком.
139 | Šolja za kristalizaciju, φ 80 mm | staklena, evropsko staklo, otporno na grejanje |  | 5 | ком.
140 | Spatule | dupla spatula, dužina 200 mm, širina ne veća od 3 mm, na jednom kraju ravna, a na drugom zaobljena |  | 10 | ком.
141 | Špric boca, 500 mL | PVC |  | 3 | ком.
142 | Špric filteri (Syringe filters) | PES, hydrophobic membrane, dia 13 mm, pore size 0.2 um |  | 100 | ком.
143 | Špric filteri (Syringe filters) | PTFE, hydrophobic membrane, dia 13 mm, pore size 0.2 um |  | 100 | ком.
144 | Špric filteri (Syringe filters) | PVDF, hydrophilic membrane, dia 13 mm, pore size 0,2 um |  | 100 | ком.
145 | Staklene cevi | unutrašnji prečnik 12 cm, dužina 130 cm, debljina zidova ne manja od 3 mm |  | 1 | ком.
146 | Staklene cevi | unutrašnji prečnik 3 cm, dužina 130 cm, debljina zidova ne manja od 3 mm |  | 1 | ком.
147 | Staklene cevi | unutrašnji prečnik 5 cm, dužina 100 cm, debljina zidova ne manja od 3 mm |  | 1 | ком.
148 | Staklene kuglice za kljucanje | Staklene kuglice za ključanje, precnik 5 mm, pakovanje 500 g |  | 1 | ком.
149 | Stakleni homogenizator za tkiva | Stakleni homogenizator zapremine 5 mL, gde su i avan i tucak izradjeni od stakla |  | 1 | ком.
150 | stakleni slif NS 29/32, muski, precnik 26 mm, debljina zida 2.0 mm, ukupna duzina 130 mm | staklo evropskog porekla, Acc. to DIN 12249 form B, Lenz ili odgovarajuće |  | 100 | ком.
151 | stakleni slif NS 29/32, zenski, precnik 33 mm, debljina zida 2.0 mm, ukupna duzina 130 mm | staklo evropskog porekla, Acc. to DIN 12249 form E, Lenz ili odgovarajuće |  | 100 | ком.
152 | Stalak za epruvete | Najmanje 24 mesta, za epruvete prečnika 20-25 mm | dostaviti uzorak! | 5 | ком.
153 | Stalak za viale za HPLC (2 mL) | Najmanje 81 mesto | dostaviti uzorak! | 6 | ком.
154 | Štap za vađenje magneta (izvlakač magneta) |  |  | 1 | ком.
155 | Support tube, Quartz, 65mm | for elemental analysis | za aparat Vario EL III, Elementar | 3 | ком.
156 | Syringe Filter | Regenerated cellulose membrane, 15 mm diameter, 0.45 µm pore, 100/pk | dostaviti uzorak! | 2 | пак.
157 | Syringe for GC | syringe for CTC GC, 10 µL, fixed needle, 26/51/bevel, Combi/GC-PAL, 2 kom/pak | dostaviti uzorak! | 1 | пак.
158 | Termometar, sa šlifom NŠ 14, 0-250°C |  |  | 1 | ком.
159 | Thread bottles 12 mL | thread 15-425, 66x18.5 mm, clear glass, 1st.hydrol.cl., pack of 100 |  | 1 | пак.
160 | Thread bottles 8 mL | thread 15-425, 61x16.6 mm, clear glass, 1st.hydrol.cl., pack of 100 |  | 1 | пак.
161 | Tin boats 4 x 4 x 11 mm 500 PCS (kalajni čunići) | za aparat Vario EL III, Elementar | za aparat Vario EL III, Elementar | 1 | пак.
162 | Tin Boats, 6 x 6 x 12 mm 250 PCS | za aparat Vario EL III, Elementar | za aparat Vario EL III, Elementar | 1 | ком.
163 | Trake za izoelektrofokusiranje sa imobilizovanim pH gradijentom (IPG strips) | Drystrip pH 3-10 NL, 7 cm |  | 36 | ком.
164 | UltraClean 18 mm magnetic screw cap with silicone | PTFE septa, 100/pk. | dostaviti uzorak! | 4 | пак.
165 | Vial, 2 mL | Screw top, clear, write-on spot, certified, 2 mL, 100/pk. Vial size: 12 x 32 mm (12 mm cap) | dostaviti uzorak! | 10 | пак.
166 | Viala 12 mL, staklena tamna | 15-425, La-Pha-Pack ili odgovarajuće | 100kom/pak | 3 | пак.
167 | Viala 4 mL | Screw Neck Vial N 13, 4ml, O.D.: 14.75mm,, outer height: 45 mm, clear, flat bottom pack, of 100pcs |  | 2 | пак.
168 | Weighing boats | Antistatic, PS, capacity 5 mL, dimensions 55x35x6 mm, white colour |  | 100 | ком.
169 | Zatvarac za vialu od 12 mL | PP, screw, 15 mm, zatvoren, BUTYL/PTFE, La-Pha-Pack ili odgovarajuće, | 100 kom/pak | 3 | пак.
170 | Конектор између колоне и предколоне | Thermo Scientific UHPLC UltiMate 3000 series |  | 1 | ком.
171 | Сет за превентивно одржавање за iCap Q ICP-MS | Preventative Maintenance Kit, for Thermo Scientific iCAP Q ICP-MS, каталошки број: 1322750 |  | 1 | ком.
172 | Торч за ICP-OES | Quartz Duo Torch - EMT, Thermo iCap, каталошки број:842312051841 |  | 1 | ком.