## Sheet1
Prilog uz konkursnu dokumentaciju JN 24/19
Partija broj | Naziv | Opis | Napomena | Količina | Jedinica mere | Cena po jedinici mere bez PDV-a | Ukupno bez PDV-a( kolona 5x kolona 7) | Ukupno sa PDV-om ( kolona 8x PDV) | Proizvođač
1 | Automatska pipeta | Promenljiva zapremina: 20 do 200 μL | Jedno-kanalna | 1 | ком.
2 | Automatska pipeta 20-200 μl | Automatska pipeta 20-200 μl, korak 1.0μl, tacnost 2.5((± R%), preciznost 0.6 CV%, isporuciti zajedno sa 3000 nastavaka koji odgovaraju trazenoj pipeti | LLG ili odgovarajuće | 1 | ком.
3 | Balon, jednogrli, 250 mL | stakleni, okruglo dno, sa šlifom NŠ 29 |  | 2 | ком.
4 | Balon, jednogrli, 250 mL | stakleni, okruglo dno, sa šlifom NŠ 29 |  | 10 | ком.
5 | Bireta po Schellbachu od 10 mL, raspodela 0,02 ml, plava graduacija, prava sa teflonskom slavinom, klasa AS | Schellbach line for easier reading, declaration of conformity acc. to DIN 12600 ili 12700, high-contrast blue graduations, main point ring graduation at major subdivisions, EX (TD) calibrated, acc. to DIN EN ISO 385. Scale length approx. 500mm. | dostaviti uzorak | 50 | ком.
6 | C110 stampane elektrode | screen-printed carbon electrode c110 | metrohm | 1 | ком.
7 | CarboPac™ PA100 standard bore separator, 4x250mm |  | Thermo Scientific, Cat. No. 043055 | 1 | ком.
8 | Četkica za pranje epruveta | broj 7 |  | 3 | ком.
9 | CLOSING CAPS RED | Closing caps red,for NMR tubes 5mm | 100 kom/pak | 5 | пак.
10 | Conical insert | 150μL Insert, Clear glass, dimension 5x29, profile Pulled point, total volume 200μL, pack of 100, Thermo ili ekvivalent | Dostaviti uzorak! | 1 | пак.
11 | Erlenmajer, 100 mL | stakleni, usko grlo |  | 10 | ком.
12 | Erlenmajer, 250 mL | stakleni, široko grlo | Dostaviti uzorak | 10 | ком.
13 | Erlenmajer, 300 mL | stakleni, široko grlo | Dostaviti uzorak | 10 | ком.
14 | Erlenmajer, 50 mL | stakleni, usko grlo |  | 10 | ком.
15 | Filter za špric, NY | 25 mm, 0.22 μm | SFNY025022NA | 500 | ком.
16 | Filter za špric, PTFE | 25 mm, 0.45 μm, minisart medium filter |  | 500 | ком.
17 | filteri za ELISA | spektrofotometrijski ELISA set filtere koji se koriste za internu kontrolu ELISA čitača u mernom opsegu 350 do 900 nm Set filtera mora biti etaloniran na talasnu dužinu od 450 nm, pri čemu se daje vrednost % T i A na datoj talasnoj dužini Svaki filter mora ima uverenje o etaloniranju u skladu sa ISO 17025. |  | 1 | ком.
18 | Filteri za špric (SYRINGE FILTERS) | LLG-Syringe filters, CA, 0,22 umO 25 mm, blue, sterile,pack of 50, Proizvođač: LLG Labware | Dostaviti uzorak | 1 | пак.
19 | Filteri, Syringe PTFE | veličina pora 0,45 mikrometara, prečnik 25 mm | Membrane Solutions Usa | 10 | пак.
20 | Glass Pasteur pipettes | Total lenght ≥ 300 mm, Lenght of tip 195 mm, Tip outer 1,3 mm, pakovanje 500 komada | potrebno je dostaviti uzorak | 2 | пак.
21 | guma za vakuum ceđenje konusne | set od 8 komada raznih veličina, crvene ili sive boje | 9052400*LLG ili odgovarajuće | 1 | ком.
22 | gume za bihnerov levak | set svih veličina | 9052394*LLG Proizvođač: LLGProtective collars, EPDM ili odgovarajuće | 1 | ком.
23 | Kapilara autosamplera ASDV |  | Thermo Scientific; da bude kompatibilna sa ASDV Dionex | 1 | ком.
24 | Laboratorijska čaša, 10 mL | staklena, niska forma |  | 50 | ком.
25 | Laboratorijska čaša, 10 mL | staklena, niska forma |  | 20 | ком.
26 | Laboratorijska čaša, 100 mL | staklena, niska forma |  | 10 | ком.
27 | Laboratorijska čaša, 25 mL | staklena, niska forma |  | 10 | ком.
28 | Levak stakleni, kratka cev | prečnik levka oko 15 cm; prečnik cevi 1,5-2 cm; dužina cevi oko 15 cm | U ponudi je potrebno navesti podatke tražene u specifikaciji: prečnik levka, prečnik cevi i dužinu cevi | 3 | ком.
29 | Liquid scintillation vials (with screw cap attached) | polypropylene cap, foamed PE liner, pkg of 500 ea | https://www.sigmaaldrich.com/catalog/product/aldrich/z190527?lang=en&region=SX | 1 | пак.
30 | Mikrokapilare | 2 μL | pakovanje od 100 komada | 2 | пак.
31 | Mikrokapilare | 5 μL | pakovanje od 100 komada | 2 | пак.
32 | Mikrotuba sa poklopcem (Eppendorf) | 1.5 mL, nesterilna, plastična (PE ili PP) |  | 1000 | ком.
33 | Mikrotuba sa poklopcem (Eppendorf) | 1.5 mL, plastična (PE ili PP), φ 10.8mm, visina 39 mm, graduisana, sa prostorom za obeležavanje |  | 300 | ком.
34 | Mikrotuba sa poklopcem (Eppendorf) | eaction tubes, 1.5 ml, PP, with attached lid, with moulded graduation and frosted writing space, 500 pcs./bag Recommended centrifugation 20000 x g Diameter 10,8 mm Length of product 39 mm Product material Polypropylene (PP) Colour of product Transparent Cap material Polypropylene (PP) Colour of cap Transparent | Dostaviti uzorak | 6 | пак.
35 | Mikrotuba sa poklopcem (Eppendorf) | 1.5 mL, PVC |  | 3000 | ком.
36 | Mikrotuba sa poklopcem (Eppendorf) | 1.5 mL, plastična (PE ili PP), φ 10.8mm, visina 39 mm, graduisana, sa prostorom za obeležavanje | dostaviti uzorak! | 3000 | ком.
37 | Mikrotuba sa poklopcem (Eppendorf) | 2 mL, plastična (PE ili PP), graduisana, sa prostorom za obeležavanje | dostaviti uzorak! | 1000 | ком.
38 | Mikrotuba sa poklopcem i zaptivnim mehanizmom koji omogućava upotrebu u PCR-u | "0,2 mL providne DNA-/RNAse-/DNAse-/PCR inhibitor free" | dostaviti uzorak! | 1000 | ком.
39 | Nastavci za automatske pipete, 0.1-10 μL, kraća forma | "clear, non-sterile, free of: RNase, DNase, DNA", da odgovaraju pipetama: ependorf, brand, biohit | dostaviti uzorak! | 2000 | ком.
40 | Nastavci za automatske pipete, 0.1-10 μL, kraća forma | Eppendorf | dostaviti uzorak! | 1000 | ком.
41 | Nastavci za automatske pipete, 100-1000 μL | Eppendorf | dostaviti uzorak! | 2000 | ком.
42 | Nastavci za automatske pipete, 100-1000 μL | Eppendorf | dostaviti uzorak! | 2000 | ком.
43 | Nastavci za automatske pipete, 2-200 μL | Eppendorf | dostaviti uzorak! | 3000 | ком.
44 | Nastavci za automatske pipete, 2-200 μL | Socorex | dostaviti uzorak! | 1000 | ком.
45 | NMR tubes | pak, 5 mm diam, frequency 500 MHz, L 7 in. | Wilmard | 1 | ком.
46 | Normalni sud, 10 mL | stakleni |  | 10 | ком.
47 | Normalni sud, 25 mL | stakleni |  | 5 | ком.
48 | Parafilm | 4 in. * 250 ft. |  | 1 | пак.
49 | parafilm | 2 inca x 250 fita | https://www.sigmaaldrich.com/catalog/product/sigma/p7543?lang=en&region=SX | 2 | пак.
50 | Pasterova pipeta, staklena | dužina 23 cm |  | 1000 | ком.
51 | Petri solje plasticne | Petri solje plasticne sterilne fi 55 | Prečnik petri šolje fi 55 mm | 2000 | ком.
52 | Pinceta, prava | metalna, 150 mm | dostaviti uzorak! | 3 | ком.
53 | Plastična kiveta sa zatvaračem, Screw cap tube, 50 ml, 114 x 28 mm,conical base, PP, with printed writing space and graduation, with assembled red cap, sterile, Staarsted ekvivalent, bez postolja | 50 mL | dostaviti uzorak | 100 | ком.
54 | Rotilabo®-seals for conical ground glass joints | Made of PTFE; for ground glass joints 14, 50komada u pakovanju, | / | 1 | пак.
55 | SEM conductive Carbon tape | širine 5 mm ili 8 mm | www.tedpella.com/SEMmisc_html/SEMadhes.htm | 1 | ком.
56 | Semimikro kvarcna kiveta | Za spektrofotometriju, Quartz glass, Light path 10mm, 1400 µl zapremina PTFE poklopac, Dimenzije H × W × D 45 mm × 12.5 mm × 12.5 mm; 200-2,500 nm spectral range | Half-micro-cuvette 104-QS, 10mm thickness, quartz glass SUPRASILR, 1400 ul, with cover of PTFE, proizvoĐač: Hellma, šifra proizvoda: 104-10-40 ili odgovarajuće | 2 | ком.
57 | Seroloske pipete od 10 mL | Individually wrapped, gamma sterile | sarstedt ili odgovarajuće | 100 | ком.
58 | silikonsko crevo | unutrašnji prečnik 16 mm, debljina zida 3 mm | komad od 5 metara | 5 | ком.
59 | Špatula, s jednim ravnim krajem i kašičicom na drugom kraju | metalna(18/10 steel) MIKROKASIKA-SPATULA, dužina 150 mm | dostaviti uzorak! | 5 | ком.
60 | Špric boca, 500 mL | PVC |  | 5 | ком.
61 | Stakleni štapić | 250 x 5 mm | dostaviti uzorak! | 10 | ком.
62 | Stalak za nastavke za pipete zapremine 100-1000 μL | najmanje 96 mesta | sa poklopcem | 1 | ком.
63 | STANDARD NMR TUBES 5MM | Standard NMR tubes 5mm, "Economy" qualityOD 4.95+0.05mm, ID 4.19+0.05, length 178mmone end closed; | 100 kom/pak | 5 | пак.
64 | stezaljka po hoffmannu | širina 12 mm | pakovanje od 5 komada | 1 | ком.
65 | Tehnički filter papir, naborani | dimenzije 580*580 mm, | Cod. HJ1525/580-580,dostaviti uzorak! | 100 | ком.
66 | Ubodna Eza - inokulacioni štapić | sterilna plastična eza,Yellow gelb jaune,proizvođač Thermo Scientific Nunc ili drugi, sterilno pakovanje, 50 komada u pakovanju | Dostaviti uzorak | 6 | пак.
67 | Ubodna Eza - inokulacioni štapić | sterilna plastična eza, 10uL, proizvodjač Cartel ili drugi, pakovanje od 20 komada | Dostaviti uzorak | 10 | пак.
68 | Ubodna Eza - inokulacioni štapić | sterilna plastična eza, 1uL, proizvodjač Cartel ili drugi, pakovanje od 20 komada | Dostaviti uzorak | 10 | пак.
69 | VACUUM FILTRATION EQUIPMENT | funnel volume 500 ml for filters with 100 mm dia. and 80 mm dia. prefilter dimensions: Height 255 mm, 90 mm dia. without a clamp and tubing coupling | nalik Grade GV 100 | 1 | ком.
70 | Vakuum crevo | Standardni promer (oko 15,5 mm spoljašnji, 7,5 mm unutrašnji) |  | 4 | m
71 | Vials | Vials, 2mL, 12x32mm, 8mm standard opening screw thread vials, 8-425 Screw Thread Vial , clear glass, flat bottom, total volume 2 mL, pack of 100, Thermo ili ekvivalent | Dostaviti uzorak! | 1 | пак.
72 | Vials Septa | Septum for 8-425 Screw Caps , Red PTFE/White Silicone/ Red PTFE Septum , Hardness °shore 45, Thickness (mm) 1, pak of 100 | Dostaviti uzorak! | 1 | пак.
73 | Vials Screw Thread Caps | 8mm Open Top Cap 5.5mm hole, cap material Polypropylene, pack of 100 | Dostaviti uzorak! | 1 | пак.
74 | Wheaton sample vials with rubber lined caps | clear glass vial, volume 4 mL, thread 13-425 | https://www.sigmaaldrich.com/catalog/product/aldrich/z256064?lang=en&region=SX | 2 | пак.
75 | WHEATON-SCINTILLATION VIALS 20 ML | 20 mL Sample Vial, Type I Borosilicate,clear, Thread Finish 24-400, Cap Liner Material 14B Rubber Liner, dia 28mm, height 60mm, pack 72 pcs. | pakovanje je od 72 kom, ProizvoĐač: DWK Life Sciences Inc.(Wheaton, koda izdelka: 22528 ili odgovarajuće | 1 | pakovanje
76 | ZipTip C18 pippete | tip size P10 | Millipore | 1 | ком.
77 | Hyper-Sep nastavci (ziptips) C18 sa direkto povezanim matriksom za plastiku veličine od 10-200 mikrolitara | Kapacitet: svaki nastavak može da veže do 80 μg (variajabilna zapremina od 10 μl do 200 μL) totalnih peptida. Faster sample preparation with minimal sample loss with these Hyper separation micropipette tips that have directly attached C18 matrix with particle size from 40-60 A and achieve separation in volumes as low as 100 nL, at a wide range of peptide concentrations. Tips should be declared to remove interfering contaminants and release peptides in MS-compatible solutions, resulting in increased sensitivity and high-quality spectra. Primarily dedicated for MS applications, but also shold be used for peptide concentration and clean-up for peptide sequencing. Vrhovi nastavaka su u obliku strele te mogu lako dopreti u sam ugao tuba ili u uglove njihovih kapica gde se prečišćavanje sadržaja odvija. Pakovano u kutije po 96 komada | Dostaviti sliku samog nastavka. Neophodno da bude kompatibilan sa Eppendorf pipetama. | 2 | pakovanje
78 | Mikrotuba sa poklopcem - Low protein binding | zapremina od 1,5 ml. Od materijala polipropilena visoke transparentnosti. Minimized protein loss. Pakovano u kesama od po 50 komada, 1 pakovanje ima 2 kese, tj. ukupno 100 tuba • Free of surface coating, e.g., silicone • Free of DNA, DNase, RNase and ATP (PCR clean) • Special polypropylene material manufactured under optimized processing conditions |  | 5 | pakovanje
79 | Trake za izoelektrično fokusiranje širokog nelinearnog opsega pH 3 do 11, dužine 7 cm. | Immobiline DryStrip pH 3-11NL, 7 cm, pk 12, Strip length: 7 cm, Increased resolution between pH 5 and pH 7, Insoluble in cold and hot water, DIGE approved, Gel Dimension 70 x 3 x 0.5 mm, pH Gradient Nonlinear, pH Range 3-10 , package of 12 strips |  | 2 | pakovanje
80 | Membrana za reverznu osmozu za Smart2Pure uredjaj | RO membrana sa integrisanim predtretmanom 3L/h, Kompatibilna sa Smart2Pure Branstedovim uredjajem | ISO standard za proizvodnju | 1 | kom
81 | Kertridz za ultracistu vodu za Smart2Pure uredjaj | Kompatibilan sa Smart2Pure Branstedovim uredjajem | ISO standard za proizvodnju | 1 | kom
82 | Sterile filter, 0,2 μm za Smart2Pure uredjaj | Kompatibilan sa Smart2Pure Branstedovim uredjajem | ISO standard za proizvodnju | 1 | kom
83 | Screw cap tube, 15 ml | 120 x 17 mm, conical base, PP, with printed writing space and graduation, with assembled red cap, sterile and non-pyrogenic/endotoxin-free, |  | 500 | kom
84 | Screw cap tube, 50 ml | 114 x 28 mm,conical base, PP, with printed writing space and graduation, with assembled red cap, sterile and non-pyrogenic/endotoxin-free, |  | 500 | kom
85 | Serological pipette 2 ml | with cotton plug, colour code: green, polystyrene, sterile, |  | 100 | kom
86 | Serological pipette 5 ml | with cotton plug, colour code: blue, polystyrene, sterile , |  | 200 | kom
87 | Serological pipette 10 ml | with cotton plug, colour code: orange, polystyrene, sterile, |  | 250 | kom
88 | Serological pipette 25 ml | with cotton plug, colour code: red, polystyrene, sterile, |  | 100 | kom
89 | Serological pipette 50 ml | with cotton plug, colour code: violet, polystyrene, sterile, |  | 100 | kom
90 | Aspiration pipette 2 ml for aspiration of liquids | polystyrene, without cotton plug, polystyrene, sterile, |  | 1000 | kom
91 | Cell scraper with 2-position blade | scraper length: 16 cm, Blade length: 1.35 cm, sterile, 1pcs |  | 25 | kom
92 | Cell scraper with 2-position blade | scraper length: 25 cm, Blade length: 1.7 cm, sterile, |  | 25 | kom
93 | Cell culture plate, 6-well | PS, surface: standard TC for adherent cells, red, flat base, |  | 30 | kom
94 | Cell culture plate, 96-well | PS, surface: standard TC for adherent cells, red, flat base, |  | 50 | kom
95 | Tissue culture flasks T-25 | standard TC for adherent cells, canted neck, 10pcs |  | 50 | kom
96 | Cell culture dish 35 x 10 mm | PS, surface: standard TC for adherent cells, red, |  | 50 | kom
97 | Table rack | made of steel/epoxy resin, white, for disposal bags , including a dispensing package with 100 bags, |  | 2 | kom
98 | CryoPure tube 2.0 ml | (PP) w/ QuickSeal screw cap (HD-PE), colour mix (white, red, yellow, green, violet), external thread, 1.8 ml nominal volume, Cryo Performance Tested, |  | 50 | kom
99 | Set automatskih mikropipeta (2–20 μL, 20–200 μL, 100–1,000 μL) | Set of 3 autoclavable pipettes (2–20 μL, 20–200 μL, 100–1,000 μL), volume ajustable, single-channel | Eppendorf ili ekvivalent | 1 | set
100 | Automatska mikropipeta 0.1-2.5 μL | Autoclavable pipette 0.1-2.5 μL, volume ajustable, single-channel | Eppendorf ili ekvivalent | 1 | kom.
101 | Automatska mikropipeta 500 - 5000 μL | Autoclavable pipette 500 - 5000 μL, volume ajustable, single-channel | Eppendorf ili ekvivalent | 1 | kom.
102 | pH elektroda | Kompatibilna sa E520HX:Staklena elektroda, model E520 BNC, Amtast, USA, opciono sa ugradjenim senzorom za temperaturu |  | 1 | kom
103 | Laboratorijska casa, 3L | Staklena, 3L |  | 3 | kom
104 | Laboratorijska casa, 10mL | Staklena, 10mL, visoka forma |  | 10 | kom
105 | Laboratorijska casa, 5 mL | Staklena, 5mL, visoka forma |  | 5 | kom
106 | Laboratorijska casa, 20mL | Staklena, 20mL, visoka forma |  | 5 | kom
107 | Epruveta, sa konusnom osnovom i poklopcem, 50 mL / sa suknjicom | Epruveta, sa konusnom osnovom i poklopcem, 50 mL / sa suknjicom, sterilna, nepirogena, graduisana, poklopac na zavrtanje (screw cap), polipropilenska, prozirna; φ 28 mm, visina 115 mm; mogućnost centrifugiranja do 15000g; autoklavabilna na 121°C; SARSTED ili odgovarajuće |  | 100 | kom
108 | Parafilm | PARAFILM M ROLL SIZE: 4" X 250' |  | 1 | kom
109 | Microtest plate, 96 well | Microtest plate, 96-well, flat base, polystyrene, without lid, non-pyrogenic/endotoxin-free, non-cytotoxic, DNase-/RNase-/DNA-free, labelling: |  | 50 | kom
110 | Petri solja | Ø90 mm, plasticne, sterilne |  | 200 | kom
111 | Kolona HP-5MS, 30m, 0,25mm, 0,25um za GC-MS instrument Agilent Technologies 7890A/5975C | Kolona HP-5MS 30m, 0,25mm, 0,25um, kompatibilno sa instrumentom Agilent Technologies 7890A/5975C, Agilent, 19091S-433 | kompatibilno sa postojecim instrumentom, Agilent, 19091S-433 | 1 | ком.