## Sheet1
Прилог уз конкурсну документацију јн 4/19
Партија бр. | Назив партије | Опис | Количина | Јединица мере | Напомена | Цена по ј.мере без ПДВ-а | Укупно без ПДВ-а(колона 4 x колона 7) | Укупно са ПДВ-ом (колона 8 x ПДВ) | Произвођач
1 | Clamp, 3 prongs | clamps, 3 prongsjaw opening 0-70mm jaws PVC coated | 2 | ком. | ISOLAB ili ekvivalent
2 | Clamps, die-cast | Micro terminal, zinc die casting, powder coated. DIN12894, Form A square jaws, clamping range 10-25mm. | 2 | ком. | Carl Friedrich ili ekvivalent
3 | Clips for NS joints NS 14/23 | Clips for NS joints NS 14/23 | 1 | ком.
4 | Clips for NS joints NS 19/26 | Clips for NS joints NS 19/26 | 2 | ком.
5 | Clips for NS joints NS 29/32 | Clips for NS joints NS 29/32 | 2 | ком.
6 | Dupla špatula | metalna, dužina 150 mm, uska | 5 | ком. | dostaviti uzorak!
7 | Eppendorf® microtubes 3810X | volume 1.5 mL, colorless | 1 | пак.
8 | HPTLC plocice silica gel 60 F254S | alumijum ploče, 20 x 20 cm, 25 kom u pakovanju / Specific surface area (according to BET; 5-Pt. measurement): 480 - 540 m²/g Pore volume (N₂-isotherm): 0.74 - 0.84 ml/g d 50 (laser diffraction, size distribution): 5 - 7 µm Layer thickness: 150 - 200 µm Deviation of layer thickness per plate: ≤ 30 µm Chromatographic testings: A) Colour test hRf-values - bleu vif organol, colour test, lipophile: 17 - 22 - Ceres Black G, colour test, lipophile: 38 - 43 - ceres Violet brn, colour test, lipophile: 58 - 64 separation number - colourtest, lipophile: ≥ 10.0 B) Steroid test hRf-values - hydrocortisone, steroid test: 23 - 29 - Reichstein S, steroid test: 36 - 45 - methyltestosterone, steroid test: 43 - 52 separation number - steroid test: ≥ 10.5 | 1 | пак. | Merck ili ekvivalent
9 | Kiveta za centrifugu | / plastična, sa poklopcem, zapremina 15 mL (screw cap, non-sterile), 50 kom/1pakovanju | 6 | пак. | IsoLab ili ekvivalent 50 kom u 1 pakovanju
10 | klema | clamps, malleable iron, clamps, malleable ironpowder coated, rounded jaws, opening to 25mm, with cork jaws. | 1 | ком. | proizvodjac Juchheim laborgerte ili ekvivalent
11 | klema univerzalna 0-50mm SA | universal clamps 250mm 2 prongs, jaw width 0-50mm brackets PVC coated, with swivel mechanism | 2 | ком. | proizvodjac ISOLAB ili ekvivalent
12 | Kvantitativni filter papir, plava traka | precnik 185 mm, basis weight 84 g/m2, brzina 375sec/100 ml | 1 | пак. | Grade 589/3, Whatman
13 | Laboratorijska čaša, 1 L | polipropilen, graduisana, autoklavabilna, sa prostorom za obeležavanje | 5 | ком.
14 | Laboratorijska čaša, 250 mL | staklena, niska forma | 10 | ком.
15 | Laboratorijska čaša, 50 mL | polipropilen, graduisana, autoklavabilna, sa prostorom za obeležavanje | 10 | ком.
16 | Laboratorijska čaša, 500 mL | polipropilen, graduisana, autoklavabilna, sa prostorom za obeležavanje | 5 | ком.
17 | Laboratorijska čaša, 600 mL | staklena, visoka forma | 10 | ком.
18 | Laboratorijska čaša, 800 mL | staklena, niska forma | 5 | ком.
19 | Levak kvalitativni | stakleni, 3 cm | 5 | ком.
20 | Levak kvalitativni | stakleni, 5 cm | 10 | ком.
21 | Levak kvalitativni | stakleni, 8 cm | 5 | ком.
22 | Levak kvantitativni | stakleni, 5 cm | 5 | ком.
23 | Levak kvantitativni | stakleni, 7 cm | 10 | ком.
24 | Magnet 5x2mm | magnetic stirring bars, PFTE, round, 5x2mm | 10 | ком. | proizvodjac BRAND ili ekvivalent
25 | Magnet štapićasti, 20 * 6 mm, PTFE | bez prstena | 5 | ком.
26 | Magnet štapićasti, 40 * 8 mm, PTFE | bez prstena | 5 | ком.
27 | Magnet štapićasti, 60 * 9 mm, PTFE | bez prstena | 2 | ком.
28 | Menzura, 10 mL | plastična, graduisana | 2 | ком.
29 | Menzura, 100 mL | borosilikatno staklo, graduisana | 1 | ком.
30 | Menzura, 100 mL | plastična, graduisana | 2 | ком.
31 | Menzura, 250 mL | plastična (polipropilen), graduisana | 2 | ком.
32 | Menzura, 50 mL | borosilikatno staklo, graduisana | 2 | ком.
33 | Menzura, 500 mL | plastična (polipropilen), graduisana | 2 | ком.
34 | Mikrotuba sa poklopcem (Eppendorf) | 2 mL, plastična (PE ili PP), graduisana, sa prostorom za obeležavanje, okruglo dno | 3000 | ком.
35 | Muf za kleme 10mm, standardna, Ni-Pt | Muf za kleme, standardni 10mm, bosshead, 1 range 0 to 15mm standard, chrome plated | 8 | ком. | proizvodjac ISOLAB ili ekvivalent
36 | Nastavci za automatske pipete, 100-1000 μL | [Brand] | 2000 | ком. | dostaviti uzorak!
37 | Nastavci za automatske pipete, 2-200 μL | [Brand] | 2000 | ком. | dostaviti uzorak!
38 | Nastavci za Rainin pipetu od 100 – 1000 µL | RAININ PIPETA, nesterilni, 96 kom/1 pakovanju | 5 | пак. | Thermo Scientific ili ekvivalent
39 | Reduction adapters | for tubing bore 3-5/6 to 10 mm polipropilen | 2 | ком.
40 | Reduction adapters | for tubing bore 6-10/9 to 13 mm polipropilen | 2 | ком.
41 | Normalni sud, 1 L | stakleni | 4 | ком.
42 | Normalni sud, 100 mL | stakleni | 6 | ком.
43 | Normalni sud, 250 mL | stakleni | 6 | ком.
44 | Parafilm | 4 in. * 250 ft. | 1 | пак.
45 | Pasterova pipeta, plastična (PE ili PP) | 3 mL, graduisana, nesterilna | 2000 | ком.
46 | Plastična kiveta sa zatvaračem | 15 mL | 500 | ком. | dostaviti uzorak!
47 | Plastična kiveta sa zatvaračem | 50 mL, ravno dno | 1000 | ком. | dostaviti uzorak!
48 | Plutani podmetač za balone od 10-100 mL | d=80/30 mm | 2 | ком.
49 | Plutani podmetač za balone od 250-500 mL | d=110/60 mm | 2 | ком.
50 | PolyVials Thermo | including filtercaps Thermo including filtercaps / pakovanje od 250 kom za autosempler AS-DV Dionex (broj uredjaja 068888, serijski broj 100312273) | 2 | пак. | Thermo Scientific, Cat. No. 038009
51 | Power control electronic board | za berfghof mikrotalasni digestor | 1 | ком. | kataloški broj: 5303012
52 | Tubing conectors | for tubing bore 4-5, materijal polipropilen | 2 | ком. | Kartell ili ekvivalent
53 | Tubing conectors | for tubing bore 5-7 mm , materijal polipropilen | 2 | ком. | Kartell ili ekvivalent
54 | Tubing conectors | for tubing bore 7-9 mm, materijal polipropilen | 2 | ком. | Kartell ili ekvivalent
55 | Reagens boca sa poklopcem, staklena | usko grlo, svetla, 100 mL | 3 | ком.
56 | Reagens boca sa poklopcem, staklena | usko grlo, svetla, 250 mL | 3 | ком.
57 | Screw vials with caps and septa | pkg of 100 ea | 2 | пак. | Agilent ili ekvivalent
58 | Sensor chip LNB-Carboxyl, pakovanje od 4 komada | Attana LNB-Carboxyl senzor cip ili odgovarajuci, kompatibilan sa opremom Attana 200 i/ili Attana A200, koji se koristi za kovalentnu imobilizaciju proteina ili drugih molekula sa primarnom amino grupom. Potrebno je da poseduje niski afinitet ne specificnog vezivanja i mogucnost koriscenja sa sirovim uzorcima kao sto su hibridomi ili delovi celija. Pakovani zasebno ili zajedno u gasno izolovanom alu ili plasticnom pakovanju, pakovanje sadrži 4 komada; skladisteni na 4-8°C. | 1 | пак. | Kat broj: 3623-3043, proizvođač: attana ili ekvivalent
59 | Šlif, muški, NŠ 19 |  | 3 | ком.
60 | Šlif, muški, NŠ 29 |  | 3 | ком.
61 | Šlif, ženski, NŠ 19 |  | 3 | ком.
62 | Šlif, ženski, NŠ 29 |  | 3 | ком.
63 | Špatula, s jednim ravnim krajem i kašičicom na drugom kraju | metalna, dužina 100 mm | 5 | ком. | dostaviti uzorak!
64 | Špric boca, 500 mL | PVC | 5 | ком.
65 | jbnm | retort stand base 210x130mm, steel powder coated, M 10 thread, thickness 8mm, rubber feet | 4 | ком. | proizvodjac Carl Friedrich ili ekvivalent
66 | support rod 1000x12mm | support rod 1000x12mm galvanised steel, with M10 thread | 1 | ком. | proizvodjac ISOLAB ili ekvivalent
67 | support rod 750x12mm | support rod 750x12mm galvanised steel, with M10 bthread | 3 | ком. | proizvodjac ISOLAB ili ekvivalent
68 | U račve (Y tubing connectors) | PP, for tubing bore 3-4 mm | 2 | ком.
69 | U račve (Y tubing connectors) | PP, for tubing bore 6-7 mm | 2 | ком.
70 | U račve (Y tubing connectors) | PP, for tubing bore 8-9 mm | 2 | ком.
71 | Universal clamps 250mm | universal clamps 250mm span 0-50mm bracket PVC coated | 1 | ком. | proizvodjac ISOLAB ili ekvivalent
72 | Vial screw 2ml clr,cert with Blue screw caps, PTFE/red sil septa 100PK | Viale od 2 ml za Agilent GCMS staklene sa plavim poklopcem i crvenom PTFE septom | 2 | пак. | 2 pakovanja od 100 komada
73 | Viale od 12ml | tamna, 15-425, 100 kom/pak | 5 | пак. | La-Pha-Pack ili ekvivalent
74 | Viale providne sa poklopcem | zapremina 2 ml, poklopac - dvoslojni septum sa teflonom i silikonom | 300 | ком. | Agilent Technologies ili ekvivalent
75 | Viale tamne bez poklopca | zapremina 2 ml | 700 | ком. | Agilent Technologies ili ekvivalent
76 | Wheaton sample vials with rubber lined caps | amber glass vial, volume 4 mL, thread 13-425 | 1 | пак. | Sigma-Aldrich ili ekvivalent
77 | Wheaton sample vials with rubber lined caps | clear glass vial, volume 8 mL, thread 15-425 | 1 | пак. | Sigma-Aldrich ili ekvivalent
78 | Zatvarači PP, screw, 15mm zatvoren | BUTYL/PTFE, 100 kom/pak | 5 | пак. | La-Pha-Pack ili ekvivalent
79 | Three way valves | PVDF for tubing bore 5 to 7 mm, valve bore 4 mm | 2 | ком.